## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Registrar, Nalanda University
Name of Work: Tender for ELV works under Package 5A of Phase 1 Construction
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT WITH TAXES in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Tender for ELV works under Package 5A of Phase 1 Construction | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | 1. TELEPHONE & DATA NETWORKING - PASSIVE COMPONENTS, CABLING DISTRIBUTION, ACTIVE COMPONENTS & VOICECOMM F/UTP CAT6A COMPONENTS Supply and laying of specified make F/UTP CAT6A cable in prelaid PVC conduits or pipes or raceways or cable trays, but without the cost of conduits or pipes or raceways or cable trays. The cable is to be drawn from individual workstation area/device/IO to the nearest distribution rack or networking rack. It shall be within the scope of integrator/contractor to carry out and submit scanner readings for all IOs meeting the requirements of relevant EIA/TIA standards as per CAT6A cabling requirements. The integrator/contractor shall submit a detail IO maps, labelling and documentation related to terminations. | MR-1 | 180020 | Rmtrs | 42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7560840 | 7560840 | INR Seventy Five Lakh Sixty Thousand Eight Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | SITC of F/UTP CAT6A angular patch panel pre-loaded with 24 ports in 1U form factor, with universal A/B labeling and 110 connector terminations on rear of panel allowing for quick and easy installation of 22 to 24 AWG cable, inclusive of termination of f/utp CAT6A cables at all 24 ports. | MR-2 | 367 | No. | 11829 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4341243 | 4341243 | INR Forty Three Lakh Forty One Thousand Two Hundred & Forty Three Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | SITC of single F/UTP CAT6A I/O of specified make including mounting inside singlex or duplex or quad faceplate and MS backbox assembly as required as per drawing, inclusive of termination of F/UTP CAT6A cable at each IO at workstation area/device. | MR-3 | 5536 | No. | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1876704 | 1876704 | INR Eighteen Lakh Seventy Six Thousand Seven Hundred & Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | SITC of singlex faceplate and corresponding MS backbox assembly for installation of 1 F/UTP CAT6A IOs | MR-4 | 2809 | No. | 115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 323035 | 323035 | INR Three Lakh Twenty Three Thousand &Thirty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | SITC of duplex faceplate and corresponding MS backbox assembly for installation of 2 F/UTP CAT6A IOs | MR-5 | 1365 | No. | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192465 | 192465 | INR One Lakh Ninety Two Thousand Four Hundred & Sixty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | SITC of quad faceplate and corresponding MS backbox assembly for installation of 4 F/UTP CAT6A IOs | MR-6 | 100 | No. | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15100 | 15100 | INR Fifteen Thousand One Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | SITC of F/UTP CAT6A RJ-45/RJ-45 Patch Cords Solid Conductor of various lengths 3ft - IO side | MR-7 | 5533 | No. | 193 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1067869 | 1067869 | INR Ten Lakh Sixty Seven Thousand Eight Hundred & Sixty Nine Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | SITC of F/UTP CAT6A RJ-45/RJ-45 Patch Cords Solid Conductor of various lengths 7ft- Rack side | MR-8 | 5533 | No. | 218 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1206194 | 1206194 | INR Twelve Lakh Six Thousand One Hundred & Ninety Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | SITC of F/UTP CAT6A RJ-45/RJ-45 Patch Cords Solid Conductor of various lengths 10ft- as required | MR-9 | 100 | No. | 254 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25400 | 25400 | INR Twenty Five Thousand Four Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | PVC Conduits Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm size. | MR-10 | 1000 | Rmtrs | 90 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90000 | 90000 | INR Ninety Thousand Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | PVC Conduits of 40 mm size. Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required 40 mm size. | MR-11 | 1000 | Rmtrs | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130000 | 130000 | INR One Lakh Thirty Thousand Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | FIBER OPTIC CABLE & COMPONENTS SITC and Laying of fiber optic cable of various capacities to be laid in prelaid conduits/RCC hume pipes/HDPE/DWC/cable trays/trenches/in underground soil, as applicable, excluding the cost of soft-soil or hard-soil digging. 12 cores, Singlemode, Outdoor, Armoured | MR-12 | 10125 | Rmtrs | 320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3240000 | 3240000 | INR Thirty Two Lakh Forty Thousand Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | 12 cores, Singlemode, Outdoor, Armoured (For Electrical HT side Scada Integration) | MR-13 | 25000 | Rmtrs | 320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8000000 | 8000000 | INR Eighty Lakh Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | 12 cores, Singlemode, Outdoor, Armoured (FAS Panels Integration) | MR-14 | 7500 | Rmtrs | 320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2400000 | 2400000 | INR Twenty Four Lakh Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | 24 cores, Singlemode, Outdoor, Armoured | MR-15 | 8400 | Rmtrs | 381 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3200400 | 3200400 | INR Thirty Two Lakh Four Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | 48 cores, Singlemode, Outdoor, Armoured | MR-16 | 12400 | Rmtrs | 598 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7415200 | 7415200 | INR Seventy Four Lakh Fifteen Thousand Two Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | 12 cores, Singlemode, Indoor, Unarmoured | MR-17 | 1000 | Rmtrs | 270 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 270000 | 270000 | INR Two Lakh Seventy Thousand Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | SITC of wall mounted LIU of various capacities for optical splicing/termination of fiber optic cable as per the design schematics. It shall be complete with adaptor panels, adaptors and splice trays for using LC type termination and masking/blanking/dust cover for unused/unmounted adaptor ports, inclusive of all mechanical accessories. Adequate splice trays shall be provided for proper management of splices for required number of cores at every LIU. for 12 cores, Singlemode LC termination | MR-18 | 10 | No. | 11938 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119380 | 119380 | INR One Lakh Nineteen Thousand Three Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | for 24 cores, Singlemode LC termination | MR-19 | 10 | No. | 13604 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136040 | 136040 | INR One Lakh Thirty Six Thousand &Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | for 48 cores, Singlemode LC termination | MR-20 | 10 | No. | 19524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195240 | 195240 | INR One Lakh Ninety Five Thousand Two Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | SITC of 19" rack mounting type fiber shelf of various capacities for assembly/termination of fiber optic cable for LC style components, for optical splicing and provision for storage of pigtails and splices, equipped with adaptors, adaptor plates and any other such all necessary hardware for proper dressing and management of fiber optic cable. Any blank adaptor positions must be suitably masked for restricting dust entry. Adequate splice trays shall be provided for proper management of splices for required number of cores at every LIU. for 12 cores, Singlemode LC termination | MR-21 | 210 | No. | 11938 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2506980 | 2506980 | INR Twenty Five Lakh Six Thousand Nine Hundred & Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | for 24 cores, Singlemode LC termination | MR-22 | 5 | No. | 15161 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75805 | 75805 | INR Seventy Five Thousand Eight Hundred & Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | for 48 cores, Singlemode LC termination | MR-23 | 7 | No. | 20620 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 144340 | 144340 | INR One Lakh Forty Four Thousand Three Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | SITC of LC-LC duplex fiber optic patch cords of various lengths 1 mtr/3 ft., singlemode | MR-24 | 448 | No. | 2146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 961408 | 961408 | INR Nine Lakh Sixty One Thousand Four Hundred & Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | 2 mtr/6 ft., singlemode | MR-25 | 5 | No. | 2617 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13085 | 13085 | INR Thirteen Thousand &Eighty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | 3 mtr/10ft., singlemode | MR-26 | 5 | No. | 3300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16500 | 16500 | INR Sixteen Thousand Five Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28 | SITC of LC type pre-terminated fiber optic cable pigtails of various lengths 1 mtr/3 ft., singlemode | MR-27 | 878 | No. | 536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 470608 | 470608 | INR Four Lakh Seventy Thousand Six Hundred & Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | 2 mtr/6 ft., singlemode | MR-28 | 5 | No. | 654 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3270 | 3270 | INR Three Thousand Two Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | 3 mtr/10ft., singlemode | MR-29 | 5 | No. | 824 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4120 | 4120 | INR Four Thousand One Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Splicing / Termination of Fiber Optic Fiber Cable Cores using Fusion splicing with pre-terminated LC pigtails, dressing and proper fixing in splice trays. | MR-30 | 3374 | Job Work | 325 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1096550 | 1096550 | INR Ten Lakh Ninety Six Thousand Five Hundred & Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32 | SITC of IP66 rated External Splicing Kit for 96 cores inclusive of splicing of cores. | MR-31 | 20 | No. | 77190 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1543800 | 1543800 | INR Fifteen Lakh Forty Three Thousand Eight Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Suppy and Installations of OFC markers along the path of Fiber Distribution path for Identification of Fiber cable | MR-32 | 100 | No. | 435 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43500 | 43500 | INR Forty Three Thousand Five Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | NETWORKING ENCLOSURES SITC of 19" wide mounting frame Networking Enclosures of various sizes and capacities complete with all accessories. 6U, 600mmW x 450mmD, wall mounted, 2 x 90cfm fans | MR-33 | 49 | No. | 4957 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 242893 | 242893 | INR Two Lakh Forty Two Thousand Eight Hundred & Ninety Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | 9U, 600mmW x 450mmD, wall mounted, 2 x 90cfm fans | MR-34 | 19 | No. | 5265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100035 | 100035 | INR One Lakh &Thirty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | 12U, 600mmW x 600mmD, wall mounted, 2 x 90cfm fans | MR-35 | 72 | No. | 9520 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 685440 | 685440 | INR Six Lakh Eighty Five Thousand Four Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | 15U, 600mmW x 600mmD, wall mounted, 2 x 90cfm fans | MR-36 | 14 | No. | 11787 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 165018 | 165018 | INR One Lakh Sixty Five Thousand &Eighteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | 22U, 800mmW x 800mmD, floor mounted, 4 x 90cfm fans | MR-37 | 3 | No. | 26657 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79971 | 79971 | INR Seventy Nine Thousand Nine Hundred & Seventy One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
39 | 36U, 800mmW x 800mmD, floor mounted, 4 x 90cfm fans | MR-38 | 2 | No. | 31988 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63976 | 63976 | INR Sixty Three Thousand Nine Hundred & Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | 42U, 800mmW x 1000mmD, floor mounted, 4 x 90cfm fans | MR-39 | 14 | No. | 54499 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 762986 | 762986 | INR Seven Lakh Sixty Two Thousand Nine Hundred & Eighty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
41 | 42U, 1000mmW x 1000mmD, floor mounted, 4 x 90cfm fans | MR-40 | 1 | No. | 64122 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64122 | 64122 | INR Sixty Four Thousand One Hundred & Twenty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | ACTIVE: NETWORKING SWITCHES AND OPTIONS TYPE-1 (ACCESS SWITCH) SITC of Layer 2 manageable networking switch, 8 # 10/100/1000Tx ports, all ports capable of providing PoE+ as per 802.3at, switch having a PoE power budget of minimum 350 Watts, minimum 2 dedicated SFP ports. | MR-41 | 98 | No. | 37332 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3658536 | 3658536 | INR Thirty Six Lakh Fifty Eight Thousand Five Hundred & Thirty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43 | TYPE-2 (ACCESS SWITCH) SITC of Layer 2 manageable networking switch, 24 # 10/100/1000Tx ports, stacking, all ports capable of providing PoE+ as per 802.3at, switch having a PoE power budget of minimum 350 Watts, minimum 4 dedicated or shared SFP ports. | MR-42 | 337 | No. | 70311 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23694807 | 23694807 | INR Two Crore Thirty Six Lakh Ninety Four Thousand Eight Hundred & Seven Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | TYPE-3 (DISTRIBUTION SWITCH) SITC of Layer 3 fiber aggregation networking switch, minimum 24 # SFP ports, plus minimum 4 # SFP+ ports, 1 AC power supply built in and inclusive of at least 1 redundant power supply and redundant fans. | MR-43 | 10 | No. | 287816 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2878160 | 2878160 | INR Twenty Eight Lakh Seventy Eight Thousand One Hundred & Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | TYPE-4 (CORE SWITCH) Supply, Installation, Testing and Commissioning of Core Switch, minimum 24 # SFP+ ports inclusive of and installed with the following features: redundant power supply, redundant fans, full advanced Layer 3 features, switch virtualization and high availability. | MR-44 | 2 | No. | 1584363 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3168726 | 3168726 | INR Thirty One Lakh Sixty Eight Thousand Seven Hundred & Twenty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | SITC of 1000 Base LX singlemode tranceivers for L2/L3 switch, duplex LC termination supporting distance upto 2000 mtrs for ACCESS SWITCHES. | MR-45 | 440 | No. | 32484 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14292960 | 14292960 | INR One Crore Forty Two Lakh Ninety Two Thousand Nine Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | SITC of 1000 Base LX singlemode tranceivers for L2/L3 switch, duplex LC termination supporting distance upto 2000 mtrs for DISTRIBUTION SWITCHES. | MR-46 | 64 | No. | 32484 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2078976 | 2078976 | INR Twenty Lakh Seventy Eight Thousand Nine Hundred & Seventy Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | SITC of 10G SFP+ LR singlemode transceivers, 1310nm, duplex LC termination supporting distance upto 2000 mtrs, inclusive of any hardware or interfaces such as modules for populating SM-LC transceivers for DISTRIBUTION SWITCHES. | MR-47 | 40 | No. | 130424 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5216960 | 5216960 | INR Fifty Two Lakh Sixteen Thousand Nine Hundred & Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49 | SITC of 10G SFP+ ER singlemode transceivers, 1550nm, duplex LC termination supporting distance upto 10000 mtrs, inclusive of any hardware or interfaces such as modules for populating SM-LC transceivers for DISTRIBUTION SWITCHES. | MR-48 | 32 | No. | 326468 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10446976 | 10446976 | INR One Crore Four Lakh Forty Six Thousand Nine Hundred & Seventy Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
50 | SITC of 10G SFP+ LR singlemode transceivers, 1310nm, duplex LC termination supporting distance upto 2000 mtrs, inclusive of any hardware or interfaces such as modules for populating SM-LC transceivers for CORE SWITCHES. | MR-49 | 32 | No. | 130424 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4173568 | 4173568 | INR Forty One Lakh Seventy Three Thousand Five Hundred & Sixty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | SITC of wireless controller capable of supporting min. 1000 access points, inclusive of licence costs for 1000 Access Points. Centralized Hardware Controller based architecture. The system shall operate in High Availability (HA) mode providing redundancy for controller hardware. | MR-50 | 1 | No. | 2844612 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2844612 | 2844612 | INR Twenty Eight Lakh Forty Four Thousand Six Hundred & Twelve Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
52 | SITC of Wireless Access Point supporting Dual band with 802.11ac (5 GHz) and 802.11g/n (2.4GHz) concurrent operation, 4 x 4:3 MIMO Wave2 from Day 1, One 10/100/1000 Base-Tx auto-sensing (RJ45) PoE port. The AP shall be wall mountable as well as ceiling mountable (provide both options). | MR-51 | 957 | No. | 37126 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35529582 | 35529582 | INR Three Crore Fifty Five Lakh Twenty Nine Thousand Five Hundred & Eighty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
53 | SITC of licences for supporting every additional 100 wi-fi APs (in slab of 100 Nos.) | MR-52 | 1 | No. | 1376193 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1376193 | 1376193 | INR Thirteen Lakh Seventy Six Thousand One Hundred & Ninety Three Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54 | SITC of Management Tool for Centralised Configuration, Administration, Fault and Performance Monitoring and Virtualisation Management for wired and wireless LAN infrastructure. (NMS) | MR-53 | 1 | Set | 2064248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2064248 | 2064248 | INR Twenty Lakh Sixty Four Thousand Two Hundred & Forty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | 2. VIDEO SURVEILLANCE / CCTV SYSTEM SITC of Full High Definition Network Cameras, outdoor PTZ, 1/3" CMOS/MOS/CCD sensor with 30x optical zoom or better, minimum resolution 2MP (1920X1080) or better, high speed dome, 360 degrees full rotation, complete with IK10 rated vandal resistant and IP66 rated weatherproof housing, PoE+ as per 802.3a/f/t or including an optional AC/DC supply if required, supporting True Day/Night operation, ONVIF Profile S compliant, supporting H.264 High Profile with dehumidification feature. | MR-54 | 14 | No. | 85979 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1203706 | 1203706 | INR Twelve Lakh Three Thousand Seven Hundred & Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | SITC of Full High Definition Network Cameras, indoor PTZ, 1/3" CMOS/MOS/CCD sensor with 30x optical zoom or better, minimum resolution 2MP (1920X1080) or better, high speed dome, 360 degrees full rotation, complete with IK10 rated vandal resistant housing, PoE+ as per 802.3a/f/t or including an optional AC/DC supply if required, supporting True Day/Night operation, ONVIF Profile S compliant, supporting H.264 High Profile with dehumidification feature. | MR-55 | 10 | No. | 66999 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 669990 | 669990 | INR Six Lakh Sixty Nine Thousand Nine Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | SITC of Full High Definition Network Cameras, Fixed Dome, 1/3" CMOS/MOS/CCD sensor, 3-8 mm lens, minimum resolution 2MP (1920X1080), 1080p resolution at frame rates 30fps or better, H.264 High Profile, JPEG support, True Day/Night operation, ONVIF Profile S compliant, complete with IK10 rated vandal resistant housing and Power on Ethernet (PoE) based on 802.3a/f. | MR-56 | 148 | No. | 35011 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5181628 | 5181628 | INR Fifty One Lakh Eighty One Thousand Six Hundred & Twenty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | SITC of Full High Definition Network Cameras, Fixed Dome, 1/3" CMOS/MOS/CCD sensor, 5-50 mm lens, minimum resolution 2MP (1920X1080), 1080p resolution at frame rates 30fps or better, H.264 High Profile, JPEG support, True Day/Night operation, ONVIF Profile S compliant, complete with IK10 rated vandal resistant housing and Power on Ethernet (PoE) based on 802.3a/f. | MR-57 | 556 | No. | 37755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20991780 | 20991780 | INR Two Crore Nine Lakh Ninety One Thousand Seven Hundred & Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
59 | SITC of Full High Definition Network Cameras, Outdoor CS-Mount type, 1/3" CMOS/MOS/CCD sensor, 5-50mm varifocal lens, minimum resolution 2MP (1920x1080), 1080p resolution at frame rates 30fps or better, H.264 High profile, JPEG support, Day/Night operation, ONVIF Profile S compliant, complete with IK10 rated vandal resistant and IP66 rated outdoor housing and Power on Ethernet (PoE) based on 802.3a/f. | MR-58 | 16 | No. | 37755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 604080 | 604080 | INR Six Lakh Four Thousand &Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | SITC of Full High Definition Network Cameras, indoor CS-Mount type, 1/3" CMOS/MOS/CCD sensor, 5-50mm varifocal lens, minimum resolution 2MP (1920x1080), 1080p resolution at frame rates 30fps or better, H.264 High profile, JPEG support, Day/Night operation, ONVIF Profile S compliant, complete with IK10 rated vandal resistant housing and Power on Ethernet (PoE) based on 802.3a/f. | MR-59 | 74 | No. | 35156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2601544 | 2601544 | INR Twenty Six Lakh One Thousand Five Hundred & Forty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
61 | SITC of Video Management Software with ONVIF Profile S compliance having licenses for 1000 cameras and scalable to additional 50% cameras in future by adding appropriate licenses, inclusive of 10 client licences. | MR-60 | 1 | No. | 2313718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2313718 | 2313718 | INR Twenty Three Lakh Thirteen Thousand Seven Hundred & Eighteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | SITC of Server(s) required for the VMS - Industry standard Intel Xeon Dual Processor, both pocessors installed, 16 GB RAM, 1 x 1TB GB SATA HDD for OS and VMS applications, 2 x GiG NIC, DVD ROM Drive, Appropriate Licensed Operating Systems. | MR-61 | 1 | Set | 268769 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268769 | 268769 | INR Two Lakh Sixty Eight Thousand Seven Hundred & Sixty Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | SITC of Recording Server(s) - Industry standard Intel Xeon Dual Processor, both pocessors installed, 16 GB RAM, 1 x 1TB GB SATA HDD for OS and VMS applications, 2 x GiG NIC, DVD ROM Drive, Appropriate Licensed Operating Systems. Vendor shall provide required no. of servers for supporting the total no. of cameras as above, however not exceeding 64 cameras per server (1 no. of spare server shall be provided in addition to the required qty. of servers). Set of servers shall be supplied with 16-port KVM switch, USB/Wireless Keyboard, USB/Wireless Mouse, 1 x 21" LED Monitor. | MR-62 | 1 | Set | 2743667 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2743667 | 2743667 | INR Twenty Seven Lakh Forty Three Thousand Six Hundred & Sixty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
64 | SITC of Network Storage required with a capacity to store the content for 1000 cameras for 24Hrs x 30days at 25fps and 1080p. It should be scalable (should have sufficient expansion bays for HDDs) for at least additional 50% cameras. Vendor shall submit bandwidth and storage calculator for the proposed camera models. | MR-63 | 1 | No. | 7217524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7217524 | 7217524 | INR Seventy Two Lakh Seventeen Thousand Five Hundred & Twenty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
65 | SITC of Client with Intel Core i7 870 or higher with 8 GB of RAM DDR3, 1 TB SATA II hard drive for OS and VMS applications, 1 GB PCI-Express x16 dual-head video adapter supporting DVi or HDMI outputs, 1600 x 1200 or higher screen resolution, 100/1000 Ethernet Network Interface Card and 16x DVD+/- RW Drive along with appropriate Operating System, inclusive of minimum 32'' LED display compatible with supplied video adaptor. | MR-64 | 5 | No. | 63058 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 315290 | 315290 | INR Three Lakh Fifteen Thousand Two Hundred & Ninety Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | SITC of narrow bezel Professional Display/Monitors min. 55" diagonal HD LED display, min. 1 x HDMI/DVi, 2 x HDMI, USB, these shall be supplied with all hardware and mechanical work/assembly required for panelling and video wall matrix type mounting configuration as per site requirements. | MR-65 | 5 | No. | 138108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 690540 | 690540 | INR Six Lakh Ninety Thousand Five Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
67 | SITC of A3 sized laser color printer with required accessories and hardware as required. | MR-66 | 2 | No. | 21156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42312 | 42312 | INR Forty Two Thousand Three Hundred & Twelve Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | FIBER COMPONENTS FOR OUTDOOR CCTV SITC and Laying of outdoor 12 core armoured single mode fiber optic cable for outdoor connectivity where ever required in prelaid conduits / RCC hume pipes/HDPE/DWC, whichever maybe available. | MR-67 | 10000 | Rmtrs | 320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3200000 | 3200000 | INR Thirty Two Lakh Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | SITC of 12 Port outdoor LIUs for fiber terminations. | MR-68 | 12 | No. | 10276 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123312 | 123312 | INR One Lakh Twenty Three Thousand Three Hundred & Twelve Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
70 | SITC of LC-LC single mode duplex fiber optic patch cord 1mtr as per tender specification. | MR-69 | 12 | No. | 2146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25752 | 25752 | INR Twenty Five Thousand Seven Hundred & Fifty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
71 | SITC of LC type single mode pre-terminated duplex pigtail 1mtr as per tender specification. | MR-70 | 12 | No. | 536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6432 | 6432 | INR Six Thousand Four Hundred & Thirty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
72 | Suppy and Installations of OFC markers along the path of Fiber Distribution path for Identification of Fiber cable | MR-71 | 50 | No. | 363 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18150 | 18150 | INR Eighteen Thousand One Hundred & Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | Splicing / Termination of Fiber Optic Fiber Cable Cores using Fusion splicing with pre-terminated LC pigtails, dressing and proper fixing into splice trays. | MR-72 | 96 | Job Work | 325 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31200 | 31200 | INR Thirty One Thousand Two Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
74 | SITC of 5 port Industrial PoE+ Switch with 2 ports populated with mini GBIC SM SFP ports & 3 nos. 1000MbpsTx ports, inclusive of external DC adaptor/power supply as per OEM requirements. | MR-73 | 12 | No. | 22365 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268380 | 268380 | INR Two Lakh Sixty Eight Thousand Three Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
75 | SITC of F/UTP CAT6A Patch Cord 7ft | MR-74 | 12 | No. | 187 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2244 | 2244 | INR Two Thousand Two Hundred & Forty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
76 | SITC of DC power Supply 24 VDC | MR-75 | 12 | No. | 629 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7548 | 7548 | INR Seven Thousand Five Hundred & Forty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
77 | SITC of 10'-15' MS/GI street pole with accessories for mounting of cameras. | MR-76 | 12 | No. | 21737 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 260844 | 260844 | INR Two Lakh Sixty Thousand Eight Hundred & Forty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
78 | SITC of ruggedized, IP66 rated outdoor pole mountable enclosure for housing power supplies, fiber LIUs, and industrial networking switch, with suitable provisions for DIN rails, cable management. | MR-77 | 12 | No. | 13576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162912 | 162912 | INR One Lakh Sixty Two Thousand Nine Hundred & Twelve Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
79 | 3. FIRE DETECTION & ALARM SYSTEM SITC of Microprocessor based Intelligent networkable addressable type fire alarm control panel with display. The panel should be equipped with 1 installed loops, each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop,the panel shall be modularly expandable up to minimum 10 loops using loop expansion interface cards, with each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop, operating at 240 volts AC power supply, and equipped with automatic battery charger, 24 volts Sealed Maintenance Free (SMF) Lead acid Batteries shall be provided with backup of for 24 hours under Normal working condition & 30 minutes under emergency condition. wiring structure of FACP shall be Class A type (NFPA style 6). The panel shall be supplied with all accessories, control modules and power supply modules in the required quantities as per site requirements for all types of field devices to make the system fully operational. The panel shall be UL 9th or Latest edition Listed and FM approved. Each panel shall be provided with Singlemode fiber optics based hardware interface(s) and software for interconnecting of multiple panels for a peer-to-peer network. All fire alarm panels at site shall be operated and monitored in networked mode and shall be integrated with IBMS system over BacNet/IP protocol; all necessary hardware and software applications and licences for the same shall be provided by the vendor. | MR-78 | 15 | No. | 260464 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3906960 | 3906960 | INR Thirty Nine Lakh Six Thousand Nine Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | SITC of Microprocessor based Intelligent networkable addressable type fire alarm control panel with display. The panel should be equipped with 2 installed loops, each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop,the panel shall be modularly expandable up to minimum 10 loops using loop expansion interface cards, with each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop, operating at 240 volts AC power supply, and equipped with automatic battery charger, 24 volts Sealed Maintenance Free (SMF) Lead acid Batteries shall be provided with backup of for 24 hours under Normal working condition & 30 minutes under emergency condition. wiring structure of FACP shall be Class A type (NFPA style 6). The panel shall be supplied with all accessories, control modules and power supply modules in the required quantities as per site requirements for all types of field devices to make the system fully operational. The panel shall be UL 9th or Latest edition Listed and FM approved. Each panel shall be provided with Singlemode fiber optics based hardware interface(s) and software for interconnecting of multiple panels for a peer-to-peer network. All fire alarm panels at site shall be operated and monitored in networked mode and shall be integrated with IBMS system over BacNet/IP protocol; all necessary hardware and software applications and licences for the same shall be provided by the vendor. | MR-79 | 4 | No. | 425326 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1701304 | 1701304 | INR Seventeen Lakh One Thousand Three Hundred & Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
81 | SITC of Microprocessor based Intelligent networkable addressable type fire alarm control panel with display. The panel should be equipped with 3 installed loops, each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop,the panel shall be modularly expandable up to minimum 10 loops using loop expansion interface cards, with each loop having a capacity of connecting a minimum of 127 addressable detectors and 127 addressable modules or a mix of up to 250 detectors and devices in any combination in any single loop with max. 80% of loading in a single loop, operating at 240 volts AC power supply, and equipped with automatic battery charger, 24 volts Sealed Maintenance Free (SMF) Lead acid Batteries shall be provided with backup of for 24 hours under Normal working condition & 30 minutes under emergency condition. wiring structure of FACP shall be Class A type (NFPA style 6). The panel shall be supplied with all accessories, control modules and power supply modules in the required quantities as per site requirements for all types of field devices to make the system fully operational. The panel shall be UL 9th or Latest edition Listed and FM approved. Each panel shall be provided with Singlemode fiber optics based hardware interface(s) and software for interconnecting of multiple panels for a peer-to-peer network. All fire alarm panels at site shall be operated and monitored in networked mode and shall be integrated with IBMS system over BacNet/IP protocol; all necessary hardware and software applications and licences for the same shall be provided by the vendor. | MR-80 | 2 | No. | 533416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1066832 | 1066832 | INR Ten Lakh Sixty Six Thousand Eight Hundred & Thirty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
82 | SITC of interface for interconnecting multiple fire alarm system panels over fiber optics media based communication, transceivers or optics must support 100Mbps as per technical specification etc. as required. | MR-81 | 21 | No. | 119237 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2503977 | 2503977 | INR Twenty Five Lakh Three Thousand Nine Hundred & Seventy Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
83 | SITC of BaCNet interface for IBMS integration using Ethernet TCP/IP as per technical specification etc. as required. | MR-82 | 1 | No. | 126672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 126672 | 126672 | INR One Lakh Twenty Six Thousand Six Hundred & Seventy Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | SITC of Fire Command Workstation including Graphical User Interface based software. This shall include any cards, modules, hardware interfaces based on TCP/IP Ethernet communications protocol over fiber optics based media and softwares for providing connectivity and communication between multiple fire alarm system panels. The GUI based main network software shall be capable of graphically representing each node being monitored with floor plans and icons depicting the actual locations of the various systems; and / or sensors’ locations. The GUI software shall be located in control room and shall monitor all the blocks panel connected with each other. Graphic software will interface with fire network via network interface card and shall be able to control and monitor voice evaquation and two way communication system. It shall be inclusive of necessary server grade hardware, min. 42" professional LED display, licenced server operating system, licenced OEM application. | MR-83 | 1 | No. | 265904 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 265904 | 265904 | INR Two Lakh Sixty Five Thousand Nine Hundred & Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
85 | SITC of A3 sized laser color printer with required accessories and hardware as required. | MR-84 | 1 | No. | 21156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21156 | 21156 | INR Twenty One Thousand One Hundred & Fifty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
86 | SITC of Repeater Panel with 6 inch or 640-characters display. The LCD shall display all events / detectors, devices status of complete systems in the networkas per technical specification etc. as required. | MR-85 | 2 | No. | 26552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53104 | 53104 | INR Fifty Three Thousand One Hundred & Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
87 | SITC of loop expansion interface card for providing additional capacity of 1 loop, as per technical specification etc. as required. | MR-86 | 1 | No. | 29123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29123 | 29123 | INR Twenty Nine Thousand One Hundred & Twenty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
88 | SITC of Addressable Multi-sensor detectors (heat+smoke) for below false ceiling & True ceiling(above false ceiling) with mounting base, LED, Address Switch, inclusive of detector base and complete with all accessories as required. The detector shall be UL/FM Listed/approved. The detector shall include mounting arrangements for direct installation on ceiling/slab as per technical specification etc. as required. | 2.10.1.2 | 87 | No. | 3379 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293973 | 293973 | INR Two Lakh Ninety Three Thousand Nine Hundred & Seventy Three Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
89 | SITC of Addressable Photoelectric/Smoke Detector with mounting base, LED, Address Switch, inclusive of detector base and complete with all accessories as required. The detector shall be UL/FM Listed/approved. The detector shall include mounting arrangements for direct installation on ceiling/slab as per technical specification etc. as required. | 2.6.1 | 1212 | No. | 3403 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4124436 | 4124436 | INR Forty One Lakh Twenty Four Thousand Four Hundred & Thirty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
90 | SITC Rate of Rise Cum Fixed Temperature detector with mounting base, LED, Address Switch to program the detectors and complete with all accessories as required. The detector shall be UL/FM Listed/approved. The detector shall include mounting arrangements for direct installation on ceiling/slab as per technical specification etc. as required. | 19.6.2 | 101 | No. | 3276 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 330876 | 330876 | INR Three Lakh Thirty Thousand Eight Hundred & Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
91 | SITC of Beam Detector (Tx-Rx pair) along with reflector plate including mounting base as per technical specification etc. as required. | 18.33.1 | 61 | No. | 34841 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2125301 | 2125301 | INR Twenty One Lakh Twenty Five Thousand Three Hundred & One Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
92 | SITC of UL/FM Listed/approved 2 way communication Fire Fighter's Telephone Jack inclusive of any required telephone modules or monitor modules or as per OEM | MR-87 | 82 | No. | 3802 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 311764 | 311764 | INR Three Lakh Eleven Thousand Seven Hundred & Sixty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
93 | SITC of UL/FM/ Listed/approved 2 way communication Fire Fighter's Handset | MR-88 | 27 | No. | 10462 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 282474 | 282474 | INR Two Lakh Eighty Two Thousand Four Hundred & Seventy Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
94 | SITC of Addressable Pull type Manual Call Point with Key reset as per technical specfications with all the necessary mounting accessories as required to complete installation. | MR-89 | 135 | No. | 6190 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 835650 | 835650 | INR Eight Lakh Thirty Five Thousand Six Hundred & Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
95 | SITC of Addressable Relay module as per technical specification etc. as required. | MR-90 | 159 | No. | 5555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 883245 | 883245 | INR Eight Lakh Eighty Three Thousand Two Hundred & Forty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
96 | SITC of Addressable monitor module as per technical specification etc. as required. | MR-91 | 87 | No. | 3503 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 304761 | 304761 | INR Three Lakh Four Thousand Seven Hundred & Sixty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
97 | SITC of Addressable Control module as per technical specification etc. as required. | MR-92 | 137 | No. | 5750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 787750 | 787750 | INR Seven Lakh Eighty Seven Thousand Seven Hundred & Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
98 | SITC of Addressable type isolator modules for isolating shorted, dewired and loose circuits between two successive fault isolators with automatic resetting arrangement as per technical specification etc. as required. | MR-93 | 110 | No. | 3083 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339130 | 339130 | INR Three Lakh Thirty Nine Thousand One Hundred & Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
99 | SITC of Sounder with Strobe device as per NFPA72 edition. The unit shall be configureable simultanuosly for both sounder and strobe fuction. The strobes shall be capable of being synchronized for better evacuation as per technical specification etc. as required. | MR-94 | 137 | No. | 12225 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1674825 | 1674825 | INR Sixteen Lakh Seventy Four Thousand Eight Hundred & Twenty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
100 | Sitc of Directional Sounders with 20 hz to 20 khz operating frequency with multiple 8 distinct sound patterns to indicate corridors, Exit doors and direct Occupants for fast & safe Evacuation as specified in NFPA 72 - 2010 edition. | MR-95 | 72 | No. | 15930 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1146960 | 1146960 | INR Eleven Lakh Forty Six Thousand Nine Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
101 | SITC of Response Indicator with matching screws complete with GI Junction box, cable lugs at cable end and ferruling and any other hardware as appropriate. | MR-96 | 13 | No. | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1430 | 1430 | INR One Thousand Four Hundred & Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
102 | Supplying and drawing 3 x 1.5 sq. mm size of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | MR-97 | 18400 | Rmtrs | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 920000 | 920000 | INR Nine Lakh Twenty Thousand Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
103 | Supply & laying of FRLS type armoured cable of 3 Core x 1.5 sq.mm, Copper (Cu) conductor, Shielded Twisted pair, XLPE insulated wire, confirming to IS standards and as per technical specfications with all the necessary accessories as required to complete laying/installation for Fire alarm System. | MR-98 | 3200 | Rmtrs | 135 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 432000 | 432000 | INR Four Lakh Thirty Two Thousand Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
104 | 4. ACCESS CONTROL AND TIME ATTENDANCE SYSTEM SITC of ACS client hardware/workstation - industry standard Intel based platform, minimum i7 processor, 2GB RAM, 1TB SATA HDD, dedicated AGP graphics with 1G RAM, DVD, USB ports, min. 19" LED display supporting 1360x768 minimum resolution, rack mountable, licensed Microsoft Operating System Windows 10 or above and requisite user licenses. | MR-99 | 1 | No. | 52540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52540 | 52540 | INR Fifty Two Thousand Five Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
105 | SITC of Centralised Web based Application Software for Configuration, Management & Diagnostics of Access Control Configuration & Time Attendance Management. | MR-100 | 1 | No. | 75244 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75244 | 75244 | INR Seventy Five Thousand Two Hundred & Forty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
106 | SITC of microcontroller/microprocessor based Door Controller plus Reader for Access Control with all interfaces for computer/server connectivity for card base access control. | MR-101 | 12 | No. | 33246 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 398952 | 398952 | INR Three Lakh Ninety Eight Thousand Nine Hundred & Fifty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
107 | SITC of microcontroller/microprocessor based Controller plus Reader for Time attendance function with all interfaces for computer/server connectivity for biometric base time attendance system. | MR-102 | 50 | No. | 39290 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1964500 | 1964500 | INR Nineteen Lakh Sixty Four Thousand Five Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
108 | Supply, Installation , Testing & Commissioning of Contactless smart Card based on technology MIFAREÂ®, DESFire EV1, MIFAREÂ® Classic. | MR-103 | 65 | No. | 314 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20410 | 20410 | INR Twenty Thousand Four Hundred & Ten Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
109 | SITC of Green ABS plastic Emergency Break Glass Units. Current Rating : 12/24VDC, 10A48VDC, 3Amps typical. Various colour options shall be available. | MR-104 | 12 | No. | 1028 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12336 | 12336 | INR Twelve Thousand Three Hundred & Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
110 | SITC of Electromagnetic Lock (fail safe type) of 600lbs holding force, dual voltage selectable (12 VDC or 24 VDC), UL listed, Green/Red LED indication for EM Lock Status, with feedback contact. Shall be complete with L/Z/U Brackets as required for mounting on Glass / Wooden frame / Metallic Doors. | MR-105 | 12 | No. | 2261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27132 | 27132 | INR Twenty Seven Thousand One Hundred & Thirty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
111 | Supply, Installation , Testing & Commissioning and laying of 6 Core X0.5Sqmm Multistrand Copper Cable | MR-106 | 700 | Rmtrs | 114 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79800 | 79800 | INR Seventy Nine Thousand Eight Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
112 | Supply, Installation , Testing & Commissioning and laying of 4 Core X0.5Sqmm Multistrand Copper Cable | MR-107 | 700 | Rmtrs | 91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63700 | 63700 | INR Sixty Three Thousand Seven Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
113 | F/UTP CAT6A COMPONENTS Supply and laying of specified make F/UTP CAT6A cable in prelaid PVC conduits or pipes or raceways or cable trays, but without the cost of conduits or pipes or raceways or cable trays. The cable is to be drawn from individual workstation area/device/IO to the nearest distribution rack or networking rack. It shall be within the scope of integrator/contractor to carry out and submit scanner readings for all IOs meeting the requirements of relevant EIA/TIA standards as per CAT6A cabling requirements. The integrator/contractor shall submit a detail IO maps, labelling and documentation related to terminations. | MR-108 | 2300 | Rmtrs | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115000 | 115000 | INR One Lakh Fifteen Thousand Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
114 | SITC of F/UTP CAT6A RJ-45/RJ-45 Patch Cords Solid Conductor of various lengths 3ft | MR-109 | 62 | No. | 230 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14260 | 14260 | INR Fourteen Thousand Two Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
115 | SITC of F/UTP CAT6A RJ-45/RJ-45 Patch Cords Solid Conductor of various lengths: 7ft | MR-110 | 62 | No. | 259 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16058 | 16058 | INR Sixteen Thousand &Fifty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
116 | SITC with operation training of primevera sofware (Latest verson in consultation of NU) for project management Multi Users atleast for three console under milestone I -Licence upto 2+3 years | MR-111 | 1 | JOB | 75000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75000 | 75000 | INR Seventy Five Thousand Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
117 | AMC and Onsite support Operation & Comprehensive Maintenance of all the ELV Sytems BoQ items executed under the scope Sub-work I of this NIT During DLP of 24 Months. | MR-111P | 1 | JOB | 1400000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1400000 | 1400000 | INR Fourteen Lakh Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
118 | 3rd Year AMC - Operation & Comprehensive Maintenance of all the ELV Sytems BoQ items executed under the scope Sub-work I of this NIT inclusive of all materials and spare parts, which are to be provided by the integrator/bidder free of cost under Defects Liability Period as specified in this NIT, inclusive of all integrator's resources such as trained manpower and operational personnels for all services including routine maintenance, preventive maintenance, breakdown maintenance, software/firmware upgrade, repair and replacement of defective or damaged or burn-out items upon expiry of Defects Liability Period of Two years. 1st Year After Defects Liability Period, i.e., 2 year DLP + additional 1 year | MR-112 | 1 | JOB | 1000000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1000000 | 1000000 | INR Ten Lakh Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
119 | 4th Year AMC : 2nd Year After Defects Liability Period, i.e., 2 year DLP + additional 2 years | MR-113 | 1 | JOB | 1300000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1300000 | 1300000 | INR Thirteen Lakh Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
120 | 5th Year AMC : 3rd Year After Defects Liability Period, i.e., 2 year DLP + additional 3 years | MR-114 | 1 | JOB | 1700000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1700000 | 1700000 | INR Seventeen Lakh Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 244009682 | 244009682 | INR Twenty Four Crore Forty Lakh Nine Thousand Six Hundred & Eighty Two Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information